## BASE BID
TYPE | DESCRIPTION | MANUFACTURER | QTY | IES QTY | CED QTY | WESCO QTY | NOTES
A1 | PENDANT MTD DECORATIVE FIXTURE | ARTEMIDE | 19 | 19 | 19 | 19
A2 | PENDANT MTD DECORATIVE FIXTURE | ARTEMIDE | 17 | 17 | 17 | 17
A3 | PENDANT MTD DECORATIVE FIXTURE | ARTEMIDE | 24 | 24 | 24 | 24
B | LARGE PENDANT MTD DECORATIVE FIXTURE | BOCCI | 28 | 28 | 28 | 28
B1 | MEDUIM PENDANT MTD DECORATIVE FIXTURE | BOCCI | 10 | 10 | 10 | 10
C | 3" LOW VOLTAGE DOWNLIGHT | PORTFOLIO | 56 | 56 | 56 | 56
C1 | 6" RECESSED FLUORESCENT DOWNLIGHT FIXTURE | PORTFOLIO | 65 | 65 | 65 | 65
C2 | 6" RECESSED FLUORESCENT WALL WASHER FIXTURE | PORTFOLIO | 56 | 56 | 56 | 56
D-1 | 4' SURFACE FLUORESCENT STRIP FIXTURE | DAYBRITE | 3 | 3 | 3 | 3
D-2 | RECESSED FLUORESENT 2'X2' FIXTURE | FINELITE | 137 | 137 | 137 | 137
D-2 DIM | RECESSED FLUORESENT 2'X2' FIXTURE DIMMABLE | FINELITE | 68 | 68 | 68 | 68
F-8 | 8' LINEAR PENDANT FIXTURE | AXIS | 64 | 46 | 64 | 64
F-8 EM | 8' LINEAR PENDANT FIXTURE | AXIS | 64 | 64 | 64 | 64
F1-12 | 12' LINEAR PENDANT FIXTURE | AXIS | 2 | 2 | 2 | 2
F1-12 EM | 12' LINEAR PENDANT FIXTURE | AXIS | 5 | 5 | 5 | 5
F2-8' | 8' LINEAR PENDANT FIXTURE | AXIS | 15 | 15 | 15 | 15
F2-8' EM | 8' LINEAR PENDANT FIXTURE | AXIS | 11 | 11 | 11 | 11
F2-12' EM | 12' LINEAR PENDANT FIXTURE | AXIS | 2 | 2 | 2 | 2
F2D - 8' | 8' LINEAR PENDANT FIXTURE W/ DIMMING | AXIS | 1 | 1 | 1 | 1
F3 - 12' | 12' LINEAR PENDANT FIXTURE | AXIS | 1 | 1 | 1 | 1
F3 - 12' E | 12' LINEAR PENDANT FIXTURE | AXIS | 2 | 2 | 2 | 2
F3D- 12' | 12' LINEAR PENDANT FIXTURE W/ DIMMING | AXIS | 2 | 2 | 2 | 2
F3D- 12' E | 12' LINEAR PENDANT FIXTURE W/ DIMMING | AXIS | 2 | 2 | 2 | 2
G | 8' RECESSED LINEAR FIXTURE | AXIS | 5 | 5 | 5 | 5
H | FLUORESCENT WALL SCONCE FIXTURE | TOM DIXON | 3 | 3 | 3 | 3
J1 | LARGE PENDANT MTD DECORATIVE FIXTURE | TOM DIXON | 15 | 15 | 15 | 15
J2 | MEDUIM PENDANT MTD DECORATIVE FIXTURE | TOM DIXON | 15 | 15 | 15 | 15
J3 | SMALL PENDANT MTD DECORATIVE FIXTURE | TOM DIXON | 12 | 12 | 12 | 12
K | PENDANT MTD FLUORESCENT DOWNLIGHT | PORTFOLIO | 88 | 88 | 88 | 88
L | RECESSED FLUORESCENT 2'X4' FIXTURE | TBD | 6 | Not Included | 6 | Not Included
M | PENDANT MTD DECORATIVE FIXTURE | LZF | 21 | 21 | 21 | 21
X1 | SINGLE FACE EXIT SIGN | LITHONIA | 17 | 17 | 17 | 17
X2 | DOUBLE FACE EXIT SIGN | LITHONIA | 30 | 30 | 30 | 30
XSTEM | EXIT SIGN PENDANT KIT | LITHONIA | 12 | 12 | 12 | 12
| Base Bid |  |  | 327945 | 328861.3 | 310278
Adjustments
| Artemide Fixture Break-out |  |  | 0 | 0 | 29135
| Type L Add |  |  | 2850 | 0 | 3090
| Add (18) Type K Fixture |  |  | 4420.8 | 0 | 0
| Adjusted Total |  |  | 335215.8 | 328861.3 | 342503
**Type L is shown as TBD on the fixture schedule, students to RFI and request a quote.
**IES transposed quantities for fixture type F-8'. Students are to request a quote to add the missing fixtures, or explain their approach to the vendor error.
Description
| 1 | A1- PENDANT MTD DECORATIVE FIXTURE
| 2 | B- LARGE PENDANT MTD DECORATIVE FIXTURE
| 3 | B1- MEDUIM PENDANT MTD DECORATIVE FIXTURE
| 4 | C- 3" LOW VOLTAGE DOWNLIGHT
| 5 | C1- 6" RECESSED FLUORESCENT DOWNLIGHT FIXTURE
| 6 | C2- 6" RECESSED FLUORESCENT WALL WASHER FIXTURE
| 7 | D1- 4' SURFACE FLUORESCENT STRIP FIXTURE
| 8 | D2- RECESSED FLUORESENT 2'X2' FIXTURE
| 9 | F- 8' LINEAR PENDANT FIXTURE
| 10 | F1- 12' LINEAR PENDANT FIXTURE
| 11 | G- 8' RECESSED LINEAR FIXTURE
| 12 | H- FLUORESCENT WALL SCONCE FIXTURE
| 13 | J1- LARGE PENDANT MTD DECORATIVE FIXTURE
| 14 | J2- MEDUIM PENDANT MTD DECORATIVE FIXTURE
| 15 | J3- SMALL PENDANT MTD DECORATIVE FIXTURE
| 16 | K- PENDANT MTD FLUORESCENT DOWNLIGHT
| 17 | L- RECESSED FLUORESCENT 2'X4' FIXTURE
| 18 | EXIT SIGN
| 19 | A2- PENDANT MTD DECORATIVE FIXTURE
| 20 | A3- PENDANT MTD DECORATIVE FIXTURE
| 21 | D2D- RECESSED FLUORESENT 2'X2' FIXTURE DIMMABLE
| 22 | F2- 8' LINEAR PENDANT FIXTURE
| 23 | F2D- 8' LINEAR PENDANT FIXTURE W/ DIMMING
| 24 | F2- 12' LINEAR PENDANT FIXTURE
| 25 | F2D- 12' LINEAR PENDANT FIXTURE W/ DIMMING
| 26 | M- PENDANT MTD DECORATIVE FIXTURE
27

## LTG CTRL
Designation | DESCRIPTION | RELAY COUNT | MANF | REP - Elec | 4th Floor | 5th Floor | 6th Floor | 7th floor | 10th floor | 11th floor | 12th Floor | 14th floor | 15th floor | Total | NOTES | ALR UP
LRC-4A | Wattstopper 24 CKT LI panel with CC/C24 Com cards | 20 | Wattstopper | ALR | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Interior and relays
LRC-6A | Wattstopper 24 CKT LI panel with CC/C24 Com cards | 20 | Wattstopper | ALR | 0 |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Interior and relays
LRC-7A | Wattstopper 24 CKT LI panel with CC/C24 Com cards | 18 | Wattstopper | ALR | 0 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | Interior and relays
LRC-10A | Wattstopper 24 CKT LI panel with CC/C24 Com cards | 21 | Wattstopper | ALR | 0 |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | Interior and relays
LRC-11A | Wattstopper 24 CKT LI panel with CC/C24 Com cards | 18 | Wattstopper | ALR | 0 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | Interior and relays
LRC-12A | Wattstopper 24 CKT LI panel with CC/C24 Com cards | 16 | Wattstopper | ALR | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | Interior and relays
LRC-14A | Wattstopper 24 CKT LI panel with CC/C24 Com cards | 20 | Wattstopper | ALR | 0 |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | Interior and relays
LRC-15A | Wattstopper 24 CKT LI panel with CC/C24 Com cards | 18 | Wattstopper | ALR | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Interior and relays
0
| Wattstopper LVS | N/A | Wattstopper | ALR | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 8 |  | 8.82
| Wattstopper 2-Button Dataline $ | N/A | Wattstopper | ALR | 2 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 9
| Wattstopper 4-Button Dataline $ | N/A | Wattstopper | ALR | 1 |  | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 3
| Wattstopper 8-Button Dataline $ | N/A | Wattstopper | ALR | 1 |  | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 14
| Wattstopper Wall Mount Dual Tech/Dual Switch Oc Sensor | N/A | Wattstopper | ALR | 19 |  | 32 | 41 | 22 | 34 | 38 | 25 | 41 | 252 | White (Typ all Devices) | 126
| Wattstopper Ceiling Mount Dual Tech Oc Sensor w/PP | N/A | Wattstopper | ALR | 2 |  | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 5 |  | 151
| Wattstopper ELCU-200 EM Lighting Relay | N/A | Wattstopper | ALR | 15 |  | 16 | 24 | 18 | 24 | 23 | 21 | 25 | 166 |  | 82
| BASE BID LCP/DATALINE $ | [13 empty] | 97482
| Less notebook/WL Base | [13 empty] | 4279
| Less EM ltg Relay | [13 empty] | 13612
| Revised Total | [13 empty] | 79591
| LMSW-101 Wall Switch | N/A | Wattstopper | ALR | 0 |  | 2 | 4 | 15 | 7 | 5 | 5 | 4 | 19 |  | 36 | 684
| LMSW-102 Wall Switch | N/A | Wattstopper | ALR | 11 |  | 5 | 3 | 2 | 1 | 1 | 4 | 0 | 32 |  | 36 | 1152
| LMSW-103 Wall Switch | N/A | Wattstopper | ALR | 1 |  | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 8 |  | 53 | 424
| LMSW-104 Wall Switch | N/A | Wattstopper | ALR | 0 |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 |  | 53 | 106
| LMSW-108 Wall Switch | N/A | Wattstopper | ALR | 0 |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 |  | 53 | 106
| LMDM-101 Dimming Switch | N/A | Wattstopper | ALR | 0 |  | 4 | 5 | 10 | 11 | 4 | 16 | 8 | 53 |  | 53 | 2809
| LMRC-102 Room Controller | N/A | Wattstopper | ALR | 11 |  | 4 | 2 | 3 | 1 | 1 | 5 | 0 | 27 |  | 105 | 2835
| LMRC-212 Dimming Room Controller | N/A | Wattstopper | ALR | 0 |  | 2 | 3 | 6 | 6 | 3 | 6 | 5 | 31 |  | 183 | 5673
| LMDC-100 Ceiling Mount Dual Tech Occ sensor | N/A | Wattstopper | ALR | 13 |  | 6 | 5 | 10 | 7 | 4 | 13 | 5 | 63 |  | 166 | 10458
|  | N/A | Wattstopper | ALR | [9 empty] | 0 |  |  | 0
[14 empty] | 0 |  |  | 0
| LMRJ-15 15' Cable | N/A | Wattstopper | ALR | 38 |  | 20 | 20 | 45 | 27 | 15 | 60 | 21 | 246 |  | 8 | 1968
| CEI TOTAL/DLM | [13 empty] | 26215
| Total ALR/Wattstopper | [13 empty] | 105806
[14 empty] | 0 |  | 1113.82
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
948

## LTG DEVICES
Designation | DESCRIPTION | MANF | REP - Elec | 4th Floor | 5th Floor | 6th Floor | 7th floor | 10th floor | 11th floor | 12th Floor | 14th floor | 15th floor | Total | NOTES
$ | Single Pole Switch |  | ALR | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Interior and relays
$$ | 2-Single Pole Switch |  | ALR | 0 |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Interior and relays
OS | Wall Mount single circuit occ sensor |  | ALR | 0 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | Interior and relays
OS-1 | Ceiling Mount single directional occ sensor |  | ALR | 0 |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | Interior and relays
OS-2 | Ceiling mount dual directional occ sensor |  | ALR | 0 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | Interior and relays
LRC-12A | Wattstopper 24 CKT LI panel with CC/C24 Com cards |  | ALR | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | Interior and relays
LRC-14A | Wattstopper 24 CKT LI panel with CC/C24 Com cards | Wattstopper | ALR | 0 |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | Interior and relays
LRC-15A | Wattstopper 24 CKT LI panel with CC/C24 Com cards | Wattstopper | ALR | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Interior and relays
0
| Wattstopper LVS | Wattstopper | ALR | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 8
| Wattstopper 2-Button Dataline $ | Wattstopper | ALR | 2 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 9
| Wattstopper 4-Button Dataline $ | Wattstopper | ALR | 1 |  | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 3
| Wattstopper 8-Button Dataline $ | Wattstopper | ALR | 1 |  | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 14
| Wattstopper Wall Mount Dual Tech/Dual Switch Oc Sensor | Wattstopper | ALR | 19 |  | 32 | 41 | 22 | 34 | 38 | 25 | 41 | 252 | White (Typ all Devices)
| Wattstopper Ceiling Mount Dual Tech Oc Sensor w/PP | Wattstopper | ALR | 2 |  | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 5
| Wattstopper ELCU-200 EM Lighting Relay | Wattstopper | ALR | 15 |  | 16 | 24 | 18 | 24 | 23 | 21 | 25 | 166
| BASE BID LCP/DATALINE $ | [12 empty] | 97482
| Less notebook/WL Base | [12 empty] | 4279
| Less EM ltg Relay | [12 empty] | 13612
| Revised Total | [12 empty] | 79591
| LMSW-101 Wall Switch | Wattstopper | ALR | 0 |  | 2 | 4 | 15 | 7 | 5 | 5 | 4 | 19
| LMSW-102 Wall Switch | Wattstopper | ALR | 11 |  | 5 | 3 | 2 | 1 | 1 | 4 | 0 | 32
| LMSW-103 Wall Switch | Wattstopper | ALR | 1 |  | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 8
| LMSW-104 Wall Switch | Wattstopper | ALR | 0 |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2
| LMSW-108 Wall Switch | Wattstopper | ALR | 0 |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2
| LMDM-101 Dimming Switch | Wattstopper | ALR | 0 |  | 4 | 5 | 10 | 11 | 4 | 16 | 8 | 53
| LMRC-102 Room Controller | Wattstopper | ALR | 11 |  | 4 | 2 | 3 | 1 | 1 | 5 | 0 | 27
| LMRC-212 Dimming Room Controller | Wattstopper | ALR | 0 |  | 2 | 3 | 6 | 6 | 3 | 6 | 5 | 31
| LMDC-100 Ceiling Mount Dual Tech Occ sensor | Wattstopper | ALR | 13 |  | 6 | 5 | 10 | 7 | 4 | 13 | 5 | 63
|  | Wattstopper | ALR | [9 empty] | 0
0
| LMRJ-15 15' Cable | Wattstopper | ALR | 38 |  | 20 | 20 | 45 | 27 | 15 | 60 | 21 | 246
| CEI TOTAL/DLM | [12 empty] | #REF!
| Total ALR/Wattstopper | [12 empty] | #REF!
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
948