Problem Statement 3: Energy-Efficient Escalators

(15 Points)

In an effort to reduce the overall energy consumption in the facility, the project team is considering installing energy-efficient escalators. The escalators are designed to go into “sleep mode” during low usage periods, which utilizes less energy.

- Assuming 20% energy savings (in $ and kwh) when operating in “sleep mode”, calculate the total monthly and yearly energy savings for all new escalators in the project. Assume escalators operate in “sleep mode” when passenger loads are less than 100 people per hour. Passenger load data has been provided in Appendix XX for this calculation. Provide energy and cost savings calculations and references. Show all work.

- Calculate monthly and yearly energy savings (in $ and kwh) assuming all new escalators are equipped with “sleep mode” and downward traveling escalators are equipped with converter regenerating controllers which turn braking energy into electricity. Passenger load data and converter regenerating data has been provided in Appendix XX for this calculation. Show all work.

- Using the energy calculations above, determine how many metric tons of carbon dioxide would be saved by using energy-efficient escalators. How many acres of trees would be needed to offset this same amount of carbon dioxide? Provide references and show all work.

- Although there are demonstrated savings in energy, money, and carbon dioxide emissions that are all benefits of using energy-efficient escalators what are some barriers to their widespread use in the United States? How would you overcome these barriers to convince the local jurisdiction to approve the use of these escalators?